## Sheet1
Location | Type | Instrument | Person in charge (Sub-) | Duty | Contact
| Semi-always-on | Pump | Mungyu |  | 왓슨말로우 (010-6477-8728)
| Semi-always-on | Micropipette | Min-Ji | Calibration (once a year) | Glison/한국분석기기 (02-515-8525) Calibration - hompage Eppendorf/한독 대행 (010-5341-6614)
|  | Water bath | Mungyu
Room 206 | Always-on | Computer | Byeongchan |  | 제타시스 (062-710-0680)
Room 215/216 | Always-on | Desiccator | Soyoung |  | SANPLATEC
| Always-on | DI water generator | Min-Ji | Filter exchange | 영린기기 (031-428-8700)
| Always-on | Glove box | Byeongchan (Soyoung) | Gas replacement, catalyst exchange (daily) | 서린 김산 (010-8397-0071)
| Always-on | Incubator (glove box) | Byeongchan |  | Coylab
| Always-on | Incubator (2-chamber) | Ji-Yeon
| Always-on | Shaker (2-chamber incubator) | Ji-Yeon |  | 광주과학 (010-6795-7978)
| Always-on | Shaking incubator | Min-Ji
| Always-on | GC with FID | Mungyu |  | 영린기기 (042-825-8705) / 영린기기 전태일대리 (010-5153-3052)
| Always-on | GC with TCD (for CO, CO2 measurement) | Mungyu |  | 영린기기 (042-825-8705) / 영린기기 전태일대리 (010-5153-3052)
| Always-on | pH meter | Min-Ji | Calibration (weekly) | 화신과학상사 (062-265-5144)
| Always-on | Hood | Min-Ji |  | 한국기계 (02-587-6210 / 043-277-6650)
| Always-on | Refrigerator | Soyoung |  | Purchase: EVERZEN (1588-9267) AS: EVERZEN (1588-9269)
| Always-on | Refrigerator (mini) | Soyoung |  | LG서비스센터 (1544-7777)
| Semi-always-on | Autoclave | Byeongchan | Cleaning | Purchase: VISION SCIENTIFIC (062-511-7779) AS: 대승과학 (062-247-1672) / 대승과학 한상수 (010-2217-1672)
| Semi-always-on | Air conditioner | Byeongchan | Filter cleaning (summer/winter season) | LG서비스센터 (1544-7777)
| Semi-always-on | Centrifuge for microtube | Byeongchan |  | 광주과학 (062-525-1157)
| Semi-always-on | Centrifuge for conical | Byeongchan
| Semi-always-on | Clean bench | Min-Ji (Byeongchan) |  | 대승과학 (063-247-1672)
| Semi-always-on | Heating plate | Min-Ji |  | 대한과학 (080-008-3000)
| Semi-always-on | HPLC with RI detector | Ji-Yeon
| Semi-always-on | HPLC with UV detector | Ji-Yeon
| Semi-always-on | GC with TCD (for H2 measurement) | Ji-Yeon (Mungyu) |  | 영린기기 (042-825-8705) / 영린기기 전태일대리 (010-5153-3052)
| Optional-on | Autopipette | Ji-Yeon |  | 퓨처스 (062-512-5760)
| Optional-on | Electroporator (glove box) | Soyoung |  | BMS (042-824-7000)
| Optional-on | Electronic scale | Min-Ji |  | Purchase: Adventurer, OHAUS AS: 동아하이텍 (062-531-2701 / 010-8524-6664)
| Optional-on | Fermentor (Bioflo 3000) | Byeongchan
| Optional-on | Fermentor (LiFlus GX) | Byeongchan
| Optional-on | French press | Soyoung |  | 프로넥스텍 (02-6166-8903) / 프로넥스텍 신재문 (010-5099-3982)
| Optional-on | Purging station | Min-Ji (Mungyu) |  | Self-produced
| Optional-on | UV/vis spectrophotometer | Eunmi (Ji-Yeon) | Lamp exchange | Purchase: 광주과학 (062-525-1157) AS: TS Science 이종혁 (010-9465-5964)
| Optional-on | Heat block | Mungyu |  | 한독 (010-5341-6614)
| Optional-on | Ultrasonic cleaner | Min-Ji |  | 화신테크 (053-663-5400)
| Optional-on | Vortex | Min-Ji |  | 대한과학 (080-008-3000)
2F constant room | Always-on | Incubator | Ji-Yeon |  | Purchase: VISION SCIENTIFIC (062-511-7779) AS: 대승과학 (062-247-1672) / 대승과학 한상수 (010-2217-1672)
| Always-on | Refrigerator | Eunmi
| Semi-always-on | Autolab potentiostat | Mungyu |  | 동문이엔티 장현철 (010-4591-0994)
| Semi-always-on | BASi Epsilon Potentiostat | Mungyu |  | 원아테크 (02-578-6516)
| Semi-always-on | WonATech Potentiostat | Min-Ji (Mungyu) |  | 원아테크 (02-578-6516) / 원아테크 이준석 (010-8752-6936)
| Semi-always-on | Keithly multimeter | Mungyu |  | 리솔루션 (063-247-1588) / 리솔루션 이공혁 (010-4611-9307)
| Optional-on | Heating press | Min-Ji |  | Purchase: 퓨처스 (062-512-5760) AS: 오션과학 (031-427-1730)
| Optional-on | Orion star | Mungyu |  | Purchase: 중흥과학 (062-974-2350) AS: 영인프런티어 (1588-3180)
| Optional-on | Spectronic 20D+ | Byeongchan
| Optional-on | Shaker | Eunmi
2F passage | Always-on | Chemical filter storage cabinet | Ji-Yeon | Filter exchange (once a year) | 유니온이엔지 (031-496-0408)
| Always-on | Cold chamber | Eunmi |  | Purchase: VISION SCIENTIFIC (062-511-7779) AS: 대승과학 (062-247-1672) / 대승과학 한상수 (010-2217-1672)
| Always-on | Freezer | Ji-Yeon (Mungyu) |  | Purchase: EVERZEN (1588-9267) AS: EVERZEN (1588-9269)
| Always-on | Oven | Eunmi |  | 한독 (010-5341-6614)
| Semi-always-on | High-speed centrifuge | Soyoung |  | 한일과학 (062-972-2207)
Room 214 | Semi-always-on | Ion chromatography | Mungyu
Room 313 | Always-on | Deep freezer | Byeongchan |  | 한국프리저 (02-596-8634)
| Always-on | Glove box | Mungyu |  | 엠오텍 (010-2474-4311) / 임춘수 (010-4940-9582)
| Semi-always-on | Incubator | Eunmi |  | 한백ST (032-714-0567)
Room 307 | Optional-on | ELISA (Epoch) | Eunmi |  | TS Science (010-9465-5964)
| Optional-on | Optical microscope | Mungyu |  | ZEISS (02-3140-2600) / homepage
| Optional-on | UV/vis spectrophotometer | Byeongchan
Room 412 | Always-on | Freezer | Ji-Yeon |  | LG서비스센터 (1544-7777)
| Always-on | Refrigerator | Ji-Yeon |  | LG서비스센터 (1544-7777)
| Semi-always-on | Air conditioner | Byeongchan | Filter cleaning (summer/winter season)
| Semi-always-on | Centrifuge | Eunmi
| Semi-always-on | Centrifuge (24 holes) | Eunmi |  | 한일과학 (062-972-2207)
| Semi-always-on | Cold room | Eunmi
| Semi-always-on | Electrophoresis system | Soyoung |  | BMS (042-824-7000)
| Semi-always-on | Thermocycler | Eunmi |  | 한독 (010-5341-6614)
| Optional-on | Electroporator | Soyoung |  | BMS (042-824-7000)
| Optional-on | Nanodrop | Soyoung |  | 네오젠 (010-6797-2488)
| Optional-on | Heat block | Soyoung |  | 한독 (010-5341-6614)
| Optional-on | SDS-PAGE system | Soyoung |  | BMS (042-824-7000)
| Optional-on | Ultrasonic sonicator | Eunmi |  | 대일테크 (02-508-1408)
| Optional-on | Vortex | Soyoung |  | 대한과학 (080-008-3000)
4F passage | Always-on | Centrifuge | Eunmi
| Always-on | Refrigerator | Ji-Yeon |  | LG서비스센터 (1544-7777)
Lab task |  | Meeting preparation | Min-Ji
|  | Lab homepage | Byeongchan | Update (monthly)
|  | Accounting | Soyoung
|  | Waste treatment (2F) | Min-Ji
|  | Waste treatment (4F) | Byeongchan
|  | Liquid waste treatment | Mungyu
|  | Management of consumables (4F) | Eunmi
|  | Management of enzyme and order (4F) | Eunmi
|  | Gas order and managing | Byeongchan
|  | Safety work (daily report writing) | Minji, Eunmi